## Solar BOM
Customer Name:
Warehouse Zone:
Customer Address:
QTY | SKU | ITEM DESCRIPTION | BOM
| ELNSM54M-HC-N-450 | 450W SIRIUS MODULES | Solar BOM
| Q.PEAK DUO BLK ML-G10+ 410W | 410W QCELL MODULES | Solar BOM
| HiS-T440NF(BK) | 440W HYUNDAI MODULES | Solar BOM
| DNA-120-BF10-460W | 460W APTOS MODULES | Solar BOM
| LR5-54HPB-415M | 415W LONGI MODULES | Solar BOM
| IQ8HC-72-M-DOM-US | Enphase 380W Microinverter DOMESTIC | Solar BOM
| IQ8PLUS-72-M-US | Enphase 290W MICROINVERTER | Solar BOM
| IQ8HC-72-M-US | Enphase 380W Microinverter | Solar BOM
| Q-12-17-240 | Enphase LANDSCAPE TRUNK | Solar BOM
| Q-TERM-10 | Enphase TERMINATOR CAP | Solar BOM
| Q-SEAL-10 | Enphase SEALING CAP | Solar BOM
| Q-CONN-10F | Enphase FEMALE CONNECTOR | Solar BOM
| Q-CONN-10M | Enphase MALE CONNECTOR | Solar BOM
| TSL-MCI-GEN2 (1879359) | Tesla MCI-2 | Solar BOM
| STB-SE1FCONN MC4 Female | MC4 Female Head and Pin | Solar BOM
| STB-SE1MCONN MC Male | MC4 Male Head and Pin | Solar BOM
| EZSOLAR JB-1.2 | ROOF J BOX (SHINGLE MOUNT) | Solar BOM
| EZSOLAR JB-3 | ROOF J BOXES (RAIL MOUNT) | Solar BOM
| EZSOLAR TOMBSTONE | ROOF J BOXES (METAL ROOF) | Solar BOM
| 242-10059 Conduit Mounts | SnapNRack Universal Conduit Mount | Solar BOM
| 232-01173 S CLIPS | SnapNRack S Clips (Smart Clip II) | Solar BOM
| ROOF MOUNT |  |  | Roof Type
| 4000282 K2 Shingle Roof Attachment | K2 Multi Mount Kit, Mill Shingle Roof Attachment | Solar BOM | Standard Roof Attachment
| 4000170 K2 Lag Screw (1 Per Attachment) | K2 Lag Screw 5/16 x 3" SS, W/ EPDM Washer | Solar BOM | Standard Roof Attachment
| 4000310 K2 Decking Screw (4 per Attachment) | K2 DR #14 x 3" x 5/16 Hex Head Screw W/ EPDM Washer | Solar BOM | Standard Roof Attachment
| S5-PROTEABRACKET-AL | S-5! ProteaBracket (comes with L Foot) | Solar BOM | Metal Roof Attachment
| S5-SOLARFOOT | S-5! SOLARFOOT (add L Foot) | Solar BOM | Metal Roof Attachment
| IR-LFT-03-M1 | OPEN TOP L FOOT MILL IronRidge | Solar BOM | Metal Roof Attachment
| 310999 | FLASHLOC RM KIT | Solar BOM | Flat Roof Attachment
| NUTILTLEG12-US | UNIRAC TILT LEG KIT 12" Domestic | Solar BOM | Flat Roof Attachment
| NUTILTLEG30 | UNIRAC TILT LEG KIT 30" | Solar BOM | Flat Roof Attachment
| 4000819-US K2 Rail DC 172 | K2 CrossRail 44-X Max 172", Mill, DC (Roof) | Solar BOM | K2 Rail and Hardware
| 4000770 K2 Rail Clamp (One Per Attachment) | K2 Rail Runner Kit, Mill (rail clamp) (Roof) | Solar BOM | K2 Rail and Hardware
| 4000051-T-US K2 Splice DC | K2 Tool-less Rail Connector 44-X, Set (Roof) | Solar BOM | K2 Rail and Hardware
| 4000145-US K2 Cross (Combo) Clamp DC | K2 Cross Clamp Set, Dark, DC (Roof and Groundmnt) | Solar BOM | K2 Rail and Hardware
| 4000629-H-US K2 MLPE Lug DC (with Enphase Only) | K2 CR Micro inverter & OPT, 13mm Hex, DC (Roof and Groundmnt) | Solar BOM | K2 Rail and Hardware
| 4000006-H K2 Ground Lug | K2 Ground Lug (Roof and Groundmnt) | Solar BOM | K2 Rail and Hardware
| 4000176 K2 End Cap 44-X (Roof) | K2 EndCap 44-X (Roof) | Solar BOM | K2 Rail and Hardware
| 4000069 K2 Wire Mngmnt Clip Standard | K2 Wire Management Clip, TC, (Roof and Groundmnt) | Solar BOM | K2 Rail and Hardware
| SnapNRack GROUND MOUNT: |  |  | SnapNRack GROUND MOUNT:
| 232-02542-USA Ground Rail, 172", Mill (USA) | SnapNRack Ground Mount Rail, 172", Mill (USA) | Solar BOM
| 242-02071-USA GM Mid Clamp | SnapNRack Ultra Rail Mid Clamp, Black (USA) | Solar BOM
| 242-02073-USA GM END Clamp | SnapNRack Ultra Rail END Clamp, Black (USA) | Solar BOM
| 242-09004 Bonding Pipe Clamp for 1 ½” (U Clamp) | SnapNRack Bonding Pipe Clamp for 1 ½” (U Clamp) | Solar BOM
| 232-01043 Ground Rail End Cap | SnapNRack Ground Rail End Cap | Solar BOM
| 242-10034 OmniLug | SnapNRack OmniLug (Ground Lug) | Solar BOM
| 172-05821 Reducing Tee, Pipe Cap 1 ½” x 2" | SnapNRack 1 ½” x 2" Tee / Pipe Cap | Solar BOM
| 172-05808 Plug End, 1 ½” Sch 40 | SnapNRack Plug End, Hollaender (62-8), 1 ½” Sch 40 | Solar BOM
| 172-05819 Adj Reducing Tee - 2"x1-1/2" - for Brace Pipe | SnapNRack Adjustable Reducing Elbow/Tee, Hollaender (17-98) 2” x 1 ½" | Solar BOM
| 242-04009 Ground Rail Splice | SnapNRack Ground Rail Splice | Solar BOM
| American Ground Screw 63" | Accepts 2" N/S Pipe | Solar BOM
| 2" Sch 40 Galvanized Pipe - North/South 60" | 60" N/S Ground Mount Galv Sch 40 | Solar BOM
| 2" Sch 40 Galvanized Pipe - North/South 120" | 120" N/S Ground Mount Galv Sch 40 | Solar BOM
| 1-1/2 Sch 40 Galvanized Pipe 10Ft | 10ft E/W Ground Mount Galv Sch 40 | Solar BOM
| 1-1/2 Sch 40 Galvanized Coupling |  | Solar BOM
| K2 GROUND MOUNT: | GROUND MOUNT:
| 4001370 K2 Ground Mount Rail, CR80 Mill 212 | K2 Ground Mount CrossRail 80, Ground Mount Mill, 212 | Solar BOM
| 4000708 K2 Ground Mount Rail, CR80 Mill 172 | K2 Ground Mount CrossRail 80, Ground Mount Mill, 172 | Solar BOM
| 4001196 K2 Ground Mount Rail Splice, CR80, Mill | K2 Ground Mount Rail Connector (Splice), CR80, Mill | Solar BOM
| 4000198 K2 Ground Mount Top Cap | K2 Ground Mount Top Cap 3, Kit | Solar BOM
| 4000175 K2 Ground Mount Pipe Bracket Kit (U Clamp) 3" | K2 Ground Mount Pipe Bracket Kit 3" | Solar BOM
| 4001221 K2 Ground Mount End Cap, CR80 | K2 Ground Mount EndCap, Black, CR80 | Solar BOM
| 4000145-US K2 Cross (Combo) Clamp DC | K2 Cross Clamp Set, Dark, DC (Roof and Groundmnt) | Solar BOM
| 4000629-H-US K2 MLPE Lug DC (with Enphase Only) | K2 CR Micro inverter & OPT, 13mm Hex, DC (Roof and Groundmnt) | Solar BOM
| 4000006-H K2 Ground Lug | K2 Ground Lug (Roof and Groundmnt) | Solar BOM
| 4000069 K2 Wire Mngmnt Clip Standard | K2 Wire Management Clip, TC, (Roof and Groundmnt) | Solar BOM
| Ground Screws 63" | 63" Ground Screw American Ground Screw | Solar BOM
| 60" Front N/S Pipe 3" | 60" Front N/S Pipe (3" diameter) | Solar BOM
| 120" Rear N/S Pipe 3" | 120" Rear N/S Pipe (3" diameter) | Solar BOM
| 112-240" E/W Pipe, 2.5" diameter | 112-240" E/W Pipe, 2.5" (diameter) | Solar BOM
| Diagonal Tube Brace 92" | TBD | Solar BOM
Truck Stock
| NCG75 75 Cable Gland | 3/4" Non-Metallic Cord Grip Connector (Eaton Crouse-Hinds) | Solar BOM

## Electrical BOM
Customer Name: | 0
Warehouse Zone: | 0
Customer Address: | 0
QUANTITY | SKU | ITEM DESCRIPTION | BOM
| DU221RB | 30A SQ-D NON-FUSED DISCONNECT | Electrical BOM
| DU222RB | 60A SQ-D NON-FUSED DISCONNECT | Electrical BOM
| DU323RB | 100A SQ-D NON-FUSED DISCONNECT (3 Poles) | Electrical BOM
| DU324RB | 200A SQ-D NON-FUSED DISCONNECT (3 Poles) | Electrical BOM
| D222NRB | 60A SQ-D FUSED DISCONNECT | Electrical BOM
| D223NRB | 100A SQ-D FUSED DISCONNECT | Electrical BOM
| D224NRB | 200A SQ-D FUSED DISCONNECT | Electrical BOM
| B075 | 3/4 B Hub SQ-D (30/60A Disco) | Electrical BOM
| B125 | 1-1/4" B Hub SQ-D (100A Disco) | Electrical BOM
| B200 | 2" B Hub SQ-D (200A Disco) | Electrical BOM
| EN-EP200G-NA-02-RSD (SI16-PEL64R-2) | 16A IMO DC DISCONNECT (SINGLE STRING) Enphase Branded | Electrical BOM
| SI32-PEL64R-4 | 32A IMO DC DISCONNECT (TWO STRINGS) | Electrical BOM
| PE69-3020 | IMO Isolator 3 Pole 20A Enclosed IP66 | Electrical BOM
| PB2-300 | ILSCO dual Stepped Lug | Electrical BOM
| PK23GTACP | SQUARE D 23 TERM GROUND BAR KIT | Electrical BOM
| LK100ANCP | Ground Lug for large conductors | Electrical BOM
| SGB-386CL | SPLIT 2-PIECE GROUNDING BUSHING | Electrical BOM
| K4977-INT | MILBANK DUAL SLIDE IN LUGS | Electrical BOM
| NSI IT-3/0 | NSI IT-3/0 PASS THROUGH TAP | Electrical BOM
| NSI IT-250 | NSI IT-250 PASS THROUGH TAP | Electrical BOM
| 12"X12"X 6" OUTDOOR PVC (Generic Brand) | 12"X12"X 6" OUTDOOR PVC (Generic Brand) | Electrical BOM
| 8"x 8" x 4" OUTDOOR PVC (Generic Brand) | 8"x 8" x 4" OUTDOOR PVC (Generic Brand) | Electrical BOM
| X-IQ-AM1-240-5-HDK | Enphase IQ COMBINER 5 w/ Hold Down Kit | Electrical BOM
| CELLMODEM-07-NA-05 | Enphase CELL KIT | Electrical BOM
| X-IQ-AM1-240-5C-HDK | Enphase IQ COMBINER 5C w/ CELL KIT and Hold Down Kit | Electrical BOM
| ENV2-IQ-AM1-240 | Enphase IQ Envoy (Standalone Gateway) | Electrical BOM
| IQBATTERY-5P-1P-NA-DOM | Enphase IQ-5P Battery Domestic | Electrical BOM
| IQBATTERY-5P-1P-NA | Enphase IQ-5P Battery Non-Domestic | Electrical BOM
| IQBATTERY-5P-1P-NA-43.6DOM | Enphase IQ-5P Battery 43.6% Domestic | Electrical BOM
| SC200D111C240US01 | Enphase IQ System Controller 3 Standard | Electrical BOM
| IQBATTERY-10-C-1P-DOM | Enphase IQ-10C Battery - (2) B05-C01-US00-1-3-DOM, (1) EN-B10C-NC-0708-O-DOM | Electrical BOM
| X-IQ-AM1-240-6C-3BRK | Enphase IQ COMBINER 6C (reqd with 10C Battery) | Electrical BOM
| MC-200-011-V01 | Enphase IQ Meter Collar (reqd with 10C Battery) | Electrical BOM
| CTRL-SC3-NA-01 | Enphase control cable | Electrical BOM
| X-IQ-NA-HD-125A | Enphase Hold Down Kit for IQ Combiner | Electrical BOM
| CT-200-CLAMP | Enphase CT Clamp | Electrical BOM
| TSL-PWRW3-DOM (1707000-60-M-LR-2025) | Tesla Powerwall 3 Battery + Inverter (Domestic LR ONLY) | Electrical BOM
| TSL-PWRW3-DOM (1707000-21) | Tesla Powerwall 3 Battery + Inverter (Domestic) | Electrical BOM
| TSL-PWRW3 (1707000-11) | Tesla Powerwall 3 Battery + Inverter (Non-Domestic) | Electrical BOM
| TSL-GTWY3 (1841000) | Tesla Energy Gateway 3 | Electrical BOM
| TSL-INVRTR-7600 (1538000-45) | Tesla INVERTER 7.6 kW | Electrical BOM
| TSL-REMOTE-METER (2045796-00A) | Tesla REMOTE METER for AC coupled system | Electrical BOM
| TSL-BCKUPSWITCH (1624171) | Tesla Backup Switch | Electrical BOM
| TSL-PWRW3-EXPANS-DOM (1807000-20-B) | Tesla Powerwall 3 Battery Expansion Unit (Domestic) | Electrical BOM
| TSL-PWRW3-EXPANS (1807000-10-B) | Tesla Powerwall 3 Battery Expansion Unit (Non Domestic) | Electrical BOM
| TSL-PWRW3-EXPANS-STACK-KIT (1978070) | Tesla Expansion Unit Stacking Kit | Electrical BOM
| TSL-PWRW3-EXPANS-WM-KIT (1978069) | Tesla Expansion Unit Wall Mount Kit (w/Front Cover) | Electrical BOM
| TSL-PWRW3-EXP-HRNSS-.05 (1875157-05-y) | Tesla Expansion Harness (1.64ft - Stack) | Electrical BOM
| TSL-PWRW3-EXP-HRNSS-2 (1875157-20-y) | Tesla Expansion Harness (6.56ft - Wall Mount) | Electrical BOM
| TSL-PWRW3-EXP-HRNSS-4 (1875157-40-y) | Tesla Expansion Harness (13.12ft - Wall Mount) | Electrical BOM
| TSL-PW3-ACC (1857363-00) | Tesla Accessory Bag (comes with PW3) | Electrical BOM
| TSL-CONDUIT-HUB-1.25 (1549184-01) | Tesla 1.25” Conduit Hub Kit - 1.25” conduit hub and bolts | Electrical BOM
| TSL-CONDUIT-HUB-2 (1549184-01) | Tesla 2in Conduit Hub kit - 2” conduit hub and bolts | Electrical BOM
| BRP20L125R | EATON LC MLO 20 SPACE 125A | Electrical BOM
| HOM48L125GC | Square D LC MLO 4 SPACE 125A | Electrical BOM
| HOM48L125GRB | Square D LC MLO 4 SPACE 125A | Electrical BOM
| HOM2040M100PC | Square D 100A Homeline MSP 20/40 | Electrical BOM
| HOM3060M100PC | Square D 100A Homeline MSP 30/60 | Electrical BOM
| HOM3060M200PC | Square D 200A Homeline MSP 30/60 | Electrical BOM
| HOM4080M200PC | Square D 200A Homeline MSP 40/80 | Electrical BOM
| HOM816M200PFTRB | SQ-D Homeline 200A Main Breaker Panel w/Feed-Thru Lug | Electrical BOM
| Special Order MSP: (enter sku) |  | Electrical BOM
| U8949-RL-TG-KK-CECHA | ComEd METER BASE MILBANK | Electrical BOM
| U8436-O-CECHA | ComEd Meter | Electrical BOM
| NU8980-O-200-KK-CECHA | COMED METER PEDESTAL MILBANK | Electrical BOM
| U5168-XTL-100-KK-CECHA | COMED Meter Main 100A
| U5168-XTL-200-KK-CECHA | COMED Meter Main 200A
| U1773-XL-TG-KK | WE Single Position Meter Socket, 200 Amp, 1 Phase, Ringless, Horn, 4 Term, OH, UG, 600V, Triplex | Electrical BOM
| U9551-RXL-QG-5T9-AMS | Ameren OH lever bypass (no service disconnect) | Electrical BOM
| S40405-02QG | Ameren OH lever bypass (Siemens sub for U9551) | Electrical BOM
| U6281-XL-100-5T6-AMS | Ameren Meter/Main 100A | Electrical BOM
| U6281-XL-100-5T9 | Ameren Meter/Main 100A | Electrical BOM
| U6281-XL-200-5T6-AMS | Ameren meter/main 200A | Electrical BOM
| U6281-XL-200-5T9 | Ameren meter/main 200A | Electrical BOM
| Special Order Meter: (Part Number) | Special Order Meter: | Electrical BOM
| BR115 | 15A 1P BREAKER (EATON) | Electrical BOM
| BR120 | 20A 1P BREAKER (EATON) | Electrical BOM
| BR130 | 30A 1P BREAKER (EATON) | Electrical BOM
| BR215 | 15A 2P BREAKER (EATON) | Electrical BOM
| BR220 | 20A 2P BREAKER (EATON) | Electrical BOM
| BR230 | 30A 2P BREAKER (EATON) | Electrical BOM
| BR240 | 40A 2P BREAKER (EATON) | Electrical BOM
| BR250 | 50A 2P BREAKER (EATON) | Electrical BOM
| BR260 | 60A 2P BREAKER (EATON) | Electrical BOM
| BR270 | 70A 2P BREAKER (EATON) | Electrical BOM
| BR280 | 80A 2P BREAKER (EATON) | Electrical BOM
| BR2100 | 100A 2P BREAKER (EATON) | Electrical BOM
| BR2125 | 125A 2P BREAKER (EATON) | Electrical BOM
| BQ220240 | Eaton/Cutler-Hammer Quad Circuit Breaker | Electrical BOM
| Eaton CSR2100 | EATON CSR 100A MAIN BREAKER | Electrical BOM
| Eaton CSR2125 | EATON CSR 125A MAIN BREAKER | Electrical BOM
| Eaton CSR2200 | EATON CSR 200A MAIN BREAKER | Electrical BOM
| HOM115 | 15A 1P BREAKER (HOMELINE) | Electrical BOM
| HOM120 | 20A 1P BREAKER (HOMELINE) | Electrical BOM
| HOM130 | 30A 1P BREAKER (HOMELINE) | Electrical BOM
| HOM215 | 15A 2P BREAKER (HOMELINE) | Electrical BOM
| HOM220 | 20A 2P BREAKER (HOMELINE) | Electrical BOM
| HOM230 | 30A 2P BREAKER (HOMELINE) | Electrical BOM
| HOM240 | 40A 2P BREAKER (HOMELINE) | Electrical BOM
| HOM250 | 50A 2P BREAKER (HOMELINE) | Electrical BOM
| HOM260 | 60A 2P BREAKER (HOMELINE) | Electrical BOM
| HOM270 | 70A 2P BREAKER (HOMELINE) | Electrical BOM
| HOM280 | 80A 2P BREAKER (HOMELINE) | Electrical BOM
| HOM2100 | 100A 2P BREAKER (HOMELINE) | Electrical BOM
| HOM2125 | 125A 2P BREAKER (HOMELINE) | Electrical BOM
| NO.263-R | FUSE REDUCERS | Electrical BOM
| FRN-R-15 | 15A FUSE | Electrical BOM
| FRN-R-20 | 20A FUSE | Electrical BOM
| FRN-R-25 | 25A FUSE | Electrical BOM
| FRN-R-30 | 30A FUSE | Electrical BOM
| FRN-R-35 | 35A FUSE | Electrical BOM
| FRN-R-40 | 40A FUSE | Electrical BOM
| FRN-R-45 | 45A FUSE | Electrical BOM
| FRN-R-50 | 50A FUSE | Electrical BOM
| FRN-R-60 | 60A FUSE | Electrical BOM
| FRN-R-70 | 70A FUSE | Electrical BOM
| FRN-R-80 | 80A FUSE | Electrical BOM
| FRN-R-90 | 90A FUSE | Electrical BOM
| FRN-R-100 | 100A FUSE | Electrical BOM
| FRN-R-125 | 125A FUSE | Electrical BOM
| FRN-R-200 | 200A FUSE | Electrical BOM
| SPN-1-00800 | 32 Space SPAN PANEL 200A | Electrical BOM
| SPN-PL7R-40MID200-FG | 40 Space SPAN PANEL 200A | Electrical BOM
| SPN-PL7R-48MLO225-FG | SPAN PANEL MLO 48 - 200A main lug only | Electrical BOM
| ChargePoint EV Charger | ChargePoint Home Flex Hardwired General Plug (J1772) | Electrical BOM
| Tesla EV Charger | TESLA Branded EV Charger | Electrical BOM
| BRK-HD6135FB | First Alert Heat Alarm | Electrical BOM
| Interlinkable Smoke Detector | Interlinkable Smoke Detector | Electrical BOM
| Interlinkable Smoke and CO2 Detector | Interlinkable Smoke and CO2 Detector | Electrical BOM

## Future Use
| Q.TRON BLK M-G2+/AC 430W | 430W Q. TRON MODULES | Solar BOM
| ELNSM54M-HC-415-DC:BS-E-J | 415W SIRIUS MODULES | Solar BOM
| Q.PEAK DUO BLK ML-G10.C+ 410 | 410W HANWHA Q.CELLS Q.PEAK DUO MODULES | Solar BOM
| Q.PEAK DUO BLK ML-G10.C+ 415 | 415W HANWHA Q.CELLS Q.PEAK DUO MODULES | Solar BOM
| JAM54S31-405/MR | 405W JA SOLAR MODULES | Solar BOM
| JAM54D41-440/MB | 440W JA SOLAR MODULES | Solar BOM
| 4000017 K2 Metal Roof Standard Seam Attchmnt | K2 Standard Standing Seam PowerClamp, (comes w/ L Foot) Metal Roof | Solar BOM
| 4000308 K2 Metal Roof Trapezoidal (Protea) | K2 Trapezoidal PowerClamp, Kit (comes w/ L Foot, screws) Metal Roof | Solar BOM
Remove | 4000559 K2 Armor w/Big Foot, Kit (Flashloc) | K2 Armor w/Big Foot, Kit for FLAT ROOF | Solar BOM | Flat Roof Attachment
Remove | 4000218 K2 Big Foot 6" L Foot | K2 Big Foot 6" w/ 3"+ Chem Link Clip, Tilt | Solar BOM | Flat Roof Attachment
Remove | 4000080 K2 T-Foot X 6" Mill | 4000080 K2 T-Foot X 6" Mill, Tilt | Solar BOM | Flat Roof Attachment
| 185RLD1-US | 185" DOMESTIC RAIL DARK | Solar BOM
| 185RLM1-US | 185" DOMESTIC RAIL MILL | Solar BOM
| UNI-RLSPLCM2-US | DOMESTIC RAIL SPLICE | Solar BOM
| CCLAMPD1-US | DOMESTIC COMBO CLAMP | Solar BOM
| 003250W | DECKING SCREWS | Solar BOM
| SHBUTYLM2-US | DOMESTIC STRONGHOLD BUTYL ATTACHMENT | Solar BOM
| WRMCLPD1 | WIRE MGMT CLIP | Solar BOM
| ENDCAPD1 | END CAP | Solar BOM
| NULGMLP1-US | DOMESTIC MLPE LUG | Solar BOM
| MLPEMNT-US | DOMESTIC UNIVERSAL MLPE MOUNT | Solar BOM
| WRMCNSD1 | WIRE MGMT CLIP NORTH-SOUTH | Solar BOM
| 310999 | FLASHLOC RM KIT | Solar BOM
| SHCLMPM2 | STRONGHOLD RAIL CLAMP MILL | Solar BOM
| SHCLMPD1 | RAIL CLAMP | Solar BOM
| EZSOLAR JB-F.200 | EZSOLAR JB-F.200 | Solar BOM
| APR-10K15V2-US | Franklin Battery WH aPower 2 | Electrical BOM
| AGT-R1V2-US | Franklin Gateway WH aGate | Electrical BOM
| ACCY-CT200V2-US | Franklin Accy Split CT Kit | Electrical BOM
| ACCY-BLV2-US | Franklin Accy Backup Expansion Lug Kit | Electrical BOM
| ACCY-SCV2-US | Franklin Accy Smart Circuit Module | Electrical BOM
| ACCY-GENV2-US | Franklin Accy Generator Module | Electrical BOM
| ACCY-AHUBV1-US | Franklin Accy aHUB (managed by FranklinWH aGate and Meter Adapter Controller) | Electrical BOM
| C-B-5-22-60 ConnectDER | ConnectDER Meter Socket Adapter 60A | Electrical BOM